Use the following checklist to collect necessary information and ensure proper distribution of an outage notice that requires isolation of electrical, gas, steam, or water distribution system.

| Outage Type |
| --- |
| Electric Gas Steam Domestic Water Chilled Water Heating Hot Water |
| Outage Starts | Outage Ends |
| Date | Time | Date | Time |
| Buildings by Number & Name ... or Area(s) Affected |

| Date |  | Signatures & Copies |
| --- | --- | --- |
|  |  | Print outage notices for signatures |
|  |  | Utilities signature obtained |
|  |  | Operations or Auxiliary Manager signature obtained |
|  |  | Make copies of notice for distribution |
| Date |  | Distribution |
|  |  | Posted Utilities Office area by 060 Central Service Bldg |
|  |  | 4 for each building(s) affected by outage |
| Date |  | Contact (email, fax, phone) |
|  |  | For major impacts to heating fuel only ... John Rappeleye - 614-292-6240 |
|  |  | Medical Center - electronic notification - see section 2.c.ii, under Planned Outage |
|  |  | Medical Center Bldg Engineer (614-293-2848) or Medical Center Security (614-293-8500) |
|  |  | Student Life buildings only - Dan Hausman - 614-292-9464 |
|  |  | Building Coordinators - Building Coordinators list |
|  |  | Zone Leaders - Zone Leaders Org Chart |
|  |  | Security Services - 614-247-6810 fax |
|  |  | Utility Planned Outage Notification List (include OCIO Technologies) |
|  |  | Fire protection/sprinkler system outages longer than 8 hours - Risk Management Office 614-247-8840 |
| Date |  | Records |
|  |  | Enter into the Utilities tracking database |